## Slide 1: ANCALAR AustrianNationalCAthLAbRegisty
to describe practice patterns
and trends,
to identify outliers
and to detect safety signals
Lauer MS, D´Agostino RB NEJM 2013; 369:1579-81

## Slide 2: AUSTRIA´s ANGIOGRAPHY and PCI - CENTRES 2019
n = 33 locations *
n = 55 rooms
*) n= 33 locations count for 2019, in Vienna „Göttlicher Heiland“ opened in 2019

## Slide 3: ANCALAR = Nationwide coverage since 1992 (exceptionally in 2019 one of the n=33 centres is missing and since was thereafter extrapolated) All 32 Entry Dates to national Excel sheet till July 15th during 2020 leading to cumulative number of reported 2019 Diagnostic CAG´ s (n=57.386)

## Slide 4: AUSTRIA 2018 / 2019 in 2019 one of the n=33 centres is missing and since data are here and thereafter extrapolated for n= 33 centres
        Angiography (CAG) 55.909 60.760
        PCI = Therapy 24.462 26.103
        - stent 92% 91%
        - - DES 98% 99.5 %
        i.c. device without PCI 10.6 % 13.6 %
        reported intra – coronary diagnostics without therapy in relation to PCI therapy

## Slide 5: ANCALAR 2019 AustrianNationalCAthLAbRegisty
International Context
Austria meets TRA vs TFA
Austria; EPS, TAVI etc.
Austria meets Guidelines

## Slide 6: Monitor (Auditor) Report: 1989 – 2020 (updated July 15th 2020)
CH: www.ptca.ch: Raban JEGER, Cook St, Schuell S, Wenaweser P, Bernhard Meier, Micha T. Maeder Rückmeldequote 100% für 2018
D: www.herzbericht.de: M.Vestweber Rückmeldequote 75 - 81% für 2014 – 2017
E. Bruckenberger: bis 2011
AUT: www.iik.i-med.ac.at: Lalit Kaltenbach, Hanno Ulmer, Katie Bates EUH, WiKliWo, J.Kardiol 2020

## Slide 7: Coronary Angiography Frequency per Million Inhabitants (MI) 1992-2019
Chart: 
| 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU 8.1-8.9 (MI) | 2351 | 2721 | 2637 | 2996 | 3296 | 3726 | 3927 | 4082 | 4417 | 4803 | 5093 | 5415 | 5510 | 6009 | 6104 | 6296 | 6180 | 6212 | 6580 | 6383 | 6295 | 6473 | 6534 | 6305 | 6468 | 6422 | 6353 | 6827
CH 7.4-8.6 (MI) | 2110 | 2602 | 3031 | 3307 | 3508 | 3632 | 4000 | 3900 | 4235 | 4300 | 4398 | 4490 | 4745 | 4885 | 4904 | 5012 | 5145 | 5620 | 5763 | 5537 | 5650 | 5821 | 6226 | 6001 | 6445 | 6274 | 6664
D 82.2-80.8-82.8(MI) | 7239 | 7425 | 7834 | 7943 | 8674 | 9366 | 9798 | 10125 | 10409 | 10579 | 10783 | 10634 | 10485 | 10960 | 11170 | 11100 | 10930 | 10640
CZ 10.0 - 10.5 (MI) | 5667 | 5639 | 5790 | 5288 | 5177
Notes: AU = am 1.1.2017 = 8.77 Mio EW

## Slide 8: % PCI/ CAG 1992 - 2019 (AU/CH/D/CZ)
Chart: 
| 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU | 20.1 | 19.6 | 23.4 | 24.6 | 25.4 | 25.5 | 27.2 | 28.2 | 29.4 | 31 | 33 | 35 | 37.4 | 38.1 | 38 | 37 | 38.5 | 38.1 | 36.8 | 37.2 | 38.7 | 39.8 | 41.1 | 41.1 | 40.2 | 42.1 | 43.8 | 43
CH | 21.9 | 25.6 | 27.1 | 29 | 31.4 | 34.2 | 34.2 | 34.7 | 36.4 | 38.8 | 41.3 | 43.1 | 44.6 | 45.6 | 46.3 | 46 | 45.7 | 45.7 | 46.7 | 46.3 | 46.6 | 47.6 | 47.9 | 47.9 | 50.6 | 48.4 | 47.7
D | 30.31 | 32.01 | 32.15 | 33.97 | 34.76 | 35.1 | 36.09 | 36 | 35.78 | 35.86 | 37 | 37.8 | 39.3 | 38.7 | 39.8 | 40 | 42.1 | 42.9
CZ | 39.3 | 38.9 | 39.5 | 40.6

## Slide 9
PCI per One Million Inhabitants (AU/CH/D/CZ/USA) 1991-2019
Chart: 
| 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU | 389 | 472 | 533 | 617 | 737 | 838 | 951 | 1070 | 1152 | 1300 | 1495 | 1685 | 1868 | 2061 | 2290 | 2321 | 2330 | 2377 | 2364 | 2428 | 2407 | 2437 | 2574 | 2686 | 2591 | 2603 | 2705 | 2780 | 2933
CH | 462 | 665 | 822 | 959 | 1102 | 1241 | 1366 | 1355 | 1543 | 1668 | 1815 | 1933 | 2114 | 2229 | 2273 | 2308 | 2350 | 2571 | 2693 | 2564 | 2631 | 2771 | 2982 | 2876 | 3265 | 3039 | 3176
D | 2194 | 2377 | 2519 | 2698 | 3015 | 3287 | 3536 | 3645 | 3725 | 3794 | 3986 | 4016 | 4122 | 4240 | 4450 | 4440 | 4600 | 4570
CZ | 2210 | 2218 | 2254 | 2091 | 2102
USA | 3702

## Slide 10: ACUTE (all) including STEMI (reporting) PCI (% of total PCI 1992 - 2019) in AU, CH
Chart: 
| 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
 | 1.7 | 1.8 | 2.3 | 2.8 | 5.1 | 3.9 | 5.5 | 9.1 | 11 | 9.2 | 11.7 | 14.3 | 16 | 23.3 | 26 | 31.1 | 33.9 | 34.2 | 31.9 | 34.2 | 34.2 | 32.9 | 33.8 | 35.9 | 37.7 | 40.1 | 41 | 41.2
 | 3.1 | 3.3 | 4.4 | 6 | 6.1 | 6.8 | 8 | 10 | 10.3 | 12 | 15 | 19 | 20 | 19 | 20 | 22 | 20 | 18 | 20 | 19 | 15 | 14 | 14.3 | 14.6
 | 41 | 33 | 34 | 34 | 34.8 | 38
 | 18.6 | 17.3 | 16.5 | 16.3 | 16.9 | 16.3 | 17.2 | 17.5 | 17.8 | 20 | 18.5 | 19.1

## Slide 11: Intra – aortic balloon pump for PCI (n=) in Austria 2005 -2019 (CH 2012/13/18)
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AUT | 207 | 167 | 151 | 175 | 178 | 208 | 147 | 121 | 87 | 82 | 69 | 37 | 53 | 48 | 47
CH | 429 | 287 | 176

## Slide 12: AUT 2019 CH 2018 (% of PCI)
Chart: 
| bioabSTENT % | clotCatcher | CTO % | FFR + adenosin % | FFR wave free % | OCT % | shock PCI % | IVUS %
AUT | 0.1 | 2.3 | 4.2 | 8.1 | 6.3 | 2.5 | 1.4 | 3
CH | 0.21 | 4.7 | 6.36 | 9.4 | 5.8 | 3.2 | 2.4 | 1.96

## Slide 13: AUT 2019 CH 2018 (n =)
Chart: 
| Mitraclip | PFOASDPDAVSD | rotablator | Doc CAonly | peRenaleDe
AUT | 231 | 368 | 402 | 34 | 0
CH | 380 | 998 | 503 | 37 | 11

## Slide 14: ANCALAR 2019 AustrianNationalCAthLAbRegisty
International Context
Austria meets TRA vs TFA
Austria; EPS, TAVI etc.
Austria meets Guidelines

## Slide 15: Trans- Radial Access (TRA% of PCI) AU / french CH – german CH - total CH
Chart: 
| 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU reporting | 2.3 | 2.1 | 3.2 | 2.5 | 2.2 | 1.7 | 3.6 | 8.2 | 7.2 | 7.5 | 13.1 | 16.9 | 17.6 | 23 | 30.7 | 39.5 | 43.1 | 56.7 | 59.3 | 58.7 | 76.8
CH | 0.9 | 1.3 | 15 | 26 | 28 | 32 | 33 | 51.25 | 61.7
french CH | 23 | 32 | 43 | 50
german CH | 2 | 6 | 18

## Slide 16: Trans- Radial Access (Austria) (% of procedure .. reporting centres only) 2016 / 2017 / 2018 /2019
Chart: 
| ANGIO diagnostic | 2016 | 2017 | 2018 | 2019 | PCI overall | 2016 | 2017 | 2018 | 2019 | PCI acute | 2016 | 2017 | 2018 | 2019
2016 | 56.1 | 56.7 | 60.4
2017 | 62.02 | 59.3 | 69.1
2018 | 64.78 | 58.72 | 71.58
2019 | 73.6 | 76.8 | 73.9

## Slide 17: Trans- Radial Access (TRA) in Austria % crossover to femoral during /before PCI
Chart: 
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Spalte1 | 0
% of reporting crossover /per TRA | 8.9 | 10 | 9.3 | 8.3 | 8.28 | 6.9

## Slide 18: Less adhoc PCI during CAG (%) as a result of Increasing Diagnostic Radial TRA-CAG (%) ? (reporting centres)
Chart: 
| 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019

adhoc PCI during CAG | 84.5 | 84.8 | 82.3 | 84.7 | 84.1 | 84.4 | 78.3 | 77.4 | 75 | 72.58 | 75.5
diagnostic radial | 18 | 23 | 34 | 37 | 50 | 56.1 | 62.02 | 64.8 | 73.6

## Slide 19: PCI within bifurcation of very large side branches in AU (n=) (%=of PCI, reporting centres only)
Chart: 
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU (n=) | 912 | 830 | 989 | 1081 | 1175 | 1454 | 1922 | 1920 | 1626 | 1561
% x 100 | 1140 | 1240 | 1051 | 1010

## Slide 20: ANCALAR 2019 AustrianNationalCAthLAbRegisty
International Context
Austria meets TRA vs TFA
Austria; EPS, TAVI etc.
Austria meets Guidelines

## Slide 21: Ablation (n) / Electrophysiology (n; %) & CathLab-Implantations / Austria
Chart: 
| 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Ablation | 1194 | 1320 | 1502 | 1552 | 1689 | 2166 | 2206 | 2553 | 2787 | 3098 | 3019 | 3254 | 3313 | 3482 | 3640 | 3903 | 4431
Diagnostics | 1816 | 2037 | 1935 | 1767 | 2337 | 2860 | 2612 | 2821 | 2879 | 3087 | 3185 | 3417 | 3584 | 3742 | 3906 | 4417 | 5019
A/E % x10 | 657 | 648 | 776 | 878 | 723 | 757 | 845 | 904 | 968 | 1000 | 948 | 952 | 924 | 930 | 932 | 884 | 883
Implantation | 1111 | 1115 | 1153 | 1642 | 1739 | 1567 | 1889 | 1715 | 2109 | 2198 | 1932 | 2061 | 2102 | 2143 | 2300 | 2476

## Slide 22: Austria 2013 - 2019 reporting centres pooled Ablation (n) for AFib / for VTac
Chart: 
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Ablation | 3019 | 3254 | 3313 | 3482 | 3640 | 3903 | 4431
Afib | 142 | 1162 | 1238 | 1285 | 1514 | 1783 | 1935
Vtac | 4 | 230 | 249 | 369 | 396 | 289 | 291

## Slide 23: Austria 2013 / 2014 /2015 /2016/2017 /2018/2019 leadless pacemaker (n= )
Chart: 
| 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
worldwide pioneer 2013 | 0 | 4 | 32 | 64 | 84 | 157 | 125 | 151

## Slide 24: Transcatheter aortic valve implantation (TAVI; n = ) in CH AU
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU- TAVI | 0 | 0 | 30 | 144 | 188 | 292 | 397 | 432 | 480 | 604 | 668 | 834 | 1016 | 1142 | 1426
CH- TAVI | 277 | 382 | 501 | 650 | 781 | 1009 | 1305 | 1630 | 1681 | 1781
CH TFA | 1656

## Slide 25: Transcatheter aortic valve implantation TAVI per Mio Inhabitants in AU CH D
Chart: 
| 2015 | 2016 | 2017 | 2018 | 2019 | 2030 | 2040 | 2041
AU- TAVI | 78 | 96 | 115 | 130 | 160 | 215 | 332
CH- TAVI | 155 | 194 | 196 | 207 | 209 | 321
D - TAVI | 190 | 208 | 239 | 249 | 384

## Slide 26: Myocardial biopsies (n) in Austria 2006 -2019
Chart: myocardial biopsies
| 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
myocardial biopsies | 219 | 262 | 307 | 420 | 244 | 265 | 180 | 226 | 292 | 303 | 340 | 356 | 344 | 319

## Slide 27: ANCALAR 2019 AustrianNationalCAthLAbRegisty
International Context
Austria meets TRA vs TFA
Austria; EPS, TAVI etc.
Austria meets Guidelines

## Slide 28: ANCALAR 1989–2019 Guidelines and Austria …
Austria very early reacted to new guidelines and/or to new evidence as shown in the examples for :
…GP IIb/IIIa for PCI
…ThrombinInhibitor
…Aspiration Thrombectomy/clot catcher
…Intra – aortic balloon pump for PCI
… Radial approach in PCI

## Slide 29: ANCALAR 1989–2019 Guidelines and Austria …
In Austria the use of devices continued on a low level according to special "niche" indications as shown in the examples for :
… GP IIb/IIIa for PCI
… Aspiration Thrombectomy/clot catcher
… Intra – aortic balloon pump for PCI
…

## Slide 30: Guidelines and Austria … % GP IIb/IIIa for PCI (pooled data)
Chart: 
| 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU | 6.8 | 14 | 16.7 | 22.1 | 22 | 18 | 19.2 | 15.5 | 17.6 | 16 | 16.8 | 18.1 | 14.25 | 12.5 | 11 | 9.9 | 8.2 | 7.9 | 7.1 | 6.4 | 5 | 4.3 | 3.6

## Slide 31: Guidelines and Austria … % ThrombinInhibitor (pooled data)
Chart: 
| 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU-TI | 1.1 | 1.9 | 2.8 | 3 | 2.45 | 3.3 | 5.2 | 5.4 | 5.9 | 6.1 | 3.8 | 1.9 | 0.83 | 0.37 | 0.6

## Slide 32: Guidelines and Austria … n= Catheter Aspiration Thrombectomy/clot catcher
Chart: 
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Catheter Trombectomy/clot catcher | 148 | 173 | 213 | 380 | 580 | 950 | 1065 | 1405 | 1596 | 1896 | 1848 | 1799 | 1606 | 1317 | 1077 | 891 | 662 | 594

## Slide 33: Guidelines and Austria … n= Intra– aortic balloon pump for PCI
Chart: 
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AUT | 207 | 167 | 151 | 175 | 178 | 208 | 147 | 121 | 87 | 82 | 69 | 37 | 53 | 48 | 47

## Slide 34: Guidelines and Austria … Radial approach (% of PCI) all centres pooled 2011 – 2016 and reporting centres 2016 - 2019
Chart: 
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2016 | 2017 | 2018 | 2019
2011 | 17.6
2012 | 23
2013 | 30.7
2014 | 39.5
2015 | 43.1
2016 | 55
20162 | 56.7
2017 | 59.3
2018 | 58.72
2019 | 76.8

## Slide 35: ANCALAR 1989–2019 Guidelines and Austria …
Austria remains rather hesitant in using new devices and avoids Hypes like other countries as shown in the examples for :
… Defect closure
… Biostent …
… FFR …
… IVUS ..
… OCT ..
… LAA closure ..

## Slide 36: Defect closure ASD, PFO, VSD etc. (n/a) in Austria
Chart: 
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
Defektverschl. | 162 | 243 | 269 | 332 | 214 | 202 | 296 | 274 | 236 | 193 | 191 | 218 | 217 | 218 | 198 | 311 | 368

## Slide 37: AUT 2012 / 2013/ 2014 / 2015 /2016/ 2017 / 2018/ 2019 (% of PCI .. pooled data)
Chart: 
| bioabSTENT % | FFR % | IVUS % | OCT %
2012 | 0.55 | 10.62 | 3.97 | 1.7
2013 | 4.7 | 11.7 | 3.6 | 2.6
2014 | 7.4 | 10.9 | 3.1 | 2.2
2015 | 5.1 | 14 | 3 | 2.6
2016 | 2.6 | 15.9 | 3.5 | 3.1
2017 | 0.47 | 15.4 | 3.2 | 2.6
2018 | 0.2 | 14.3 | 2.89 | 2.21
2019 | 0.1 | 16.5 | 3 | 2.5

## Slide 38: AU 2002– 2019 vs. CH 2011-2013 & 2018 Left Atrial Appendix (LAA) closure
Chart: 
| 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
AU | 7 | 4 | 13 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 4 | 11 | 24 | 25 | 57 | 76 | 58 | 72
CH | 0 | 114 | 179 | 278 | 406
0 | 0 | 0 | 0

## Slide 39: ANCALAR 1989–2019
Danke sehr

## Slide 40: Guidelines and Austria …
Thank you all …